## Slide 1: Flow Measurement
Kanchan
Deptt of Food Technology
CBL Polytechnic Bhiwani

## Slide 2: Venturi Tube
Due to simplicity and dependability, the Venturi tube flowmeter is often used in applications where it's necessary with higher Turn down rates, or lower pressure drops, than the orifice plate can provide.
In the Venturi Tube the fluid flowrate is measured by reducing the cross sectional flow area in the flow path, generating a pressure difference. After the constricted area, the fluid is passes through a pressure recovery exit section, where up to 80% of the differential pressure generated at the constricted area, is recovered.

## Slide 3: Venturi Tube
.

## Slide 4: Venturi Tube
With proper instrumentation and flow calibrating, the Venturi Tube flowrate can be reduced to about 10% of its full scale range with proper accuracy. This provides a turndown rate 10:1.
Orifice, nozzle and Ventury meter.

## Slide 5: Rotameter
The rotameter consists of a vertically oriented glass (or plastic) tube with a larger end at the top, and a metering float which is free to move within the tube. Fluid flow causes the float to rise in the tube as the upward pressure differential and buoyancy of the fluid overcome the effect of gravity.
The float rises until the annular area between the float and tube increases sufficiently to allow a state of dynamic equilibrium between the upward differential pressure and buoyancy factors, and downward gravity factors.
The height of the float is an indication of the flow rate. The tube can be calibrated and graduated in
appropriate flow units.

## Slide 6: Rotameter
.

## Slide 7: Rotameter
The rotameter meter typically have a TurnDown Ratio up to 12:1. The accuracy may be as good as 1% of full scale rating.
Magnetic floats can be used for alarm and signal transmission functions.

## Slide 8: Pitot Tube
The pitot tube are one the most used (and cheapest) ways to measure fluid flow, especially in air applications like ventilation and HVAC systems, even used in airplanes for speed measurent.
The pitot tube measures the fluid flow velocity by converting the kinetic energy of the flow into
potential energy.
The use of the pitot tube is restricted to point measuring. With the "annubar", or multi-orifice pitot probe, the dynamic pressure can be measured across the velocity profile, and the annubar obtains an averaging effect.

## Slide 9: Pitot Tube
.

## Slide 10: Vortex flow meter
Principle of Vortex flowmeter - An introduction to the vortex flowmeter principle.
An obstruction in a fluid flow creates vortices in a downstream flow. Every obstruction has a critical fluid flow speed at which vortex shedding occurs. Vortex shedding is the instance where alternating low pressure zones are generated in the downstream.

## Slide 11: Vortex flow meter
These alternating low pressure zones cause the obstruction to move towards the low pressure zone.
With sensors gauging the vortices the strength of the flow can be measured.

## Slide 12: Calorimetric Flowmeter
The calorimetric principle for fluid flow measurement is based on two temperature sensors in close contact with the fluid but thermal insulated from each other.
One of the two sensors is constantly heated and the cooling effect of the flowing fluid is used to monitor the flowrate. In a stationary (no flow) fluid condition there is a constant temperature difference between the two temperature sensors. When the fluid flow increases, heat energy is drawn from the heated sensor and the temperature difference between the sensors are reduced. The reduction is proportional to the flow rate of the fluid.

## Slide 13: Calorimetric Flowmeter

## Slide 14: Calorimetric Flowmeter
Response times will vary due the thermal conductivity of the fluid. In general lower thermal
conductivity require higher velocity for proper measurement.
The calorimetric flowmeter can achieve relatively high accuracy at low flow rates.

## Slide 15: Weirs
Weirs are structures consisting of an obstruction such as a dam or bulkhead placed across the open channel with a specially shaped opening or notch. The flow rate over a weir is a function of the head on the weir.
Common weir constructions are the rectangular weir, the triangular or v-notch weir, and the broad-crested weir. Weirs are called sharp-crested if their crests are constructed of thin metal plates, and broad-crested if they are made of wide timber or concrete.

## Slide 16: Weirs

## Slide 17: Orifice Plate
With an orifice plate, the fluid flow is measured through the difference in pressure from the upstream side to the downstream side of a partially obstructed pipe. The plate obstructing the flow offers a precisely measured obstruction that narrows the pipe and forces the flowing fluid to constrict.
The orifice plates are simple, cheap and can be delivered for almost any application in any material.

## Slide 18: Orifice Plate

## Slide 19: Orifice Plate
The Turndown rates for orifice plates are less than 5:1. Their accuracy are poor at low flow rates. A high accuracy depend on an orifice plate in good shape, with a sharp edge to the upstream side.
Wear reduces the accuracy.
Orifice, Nozzle and Ventury meter.